**Depot**

Makkah DN024-09-25

050677889

989804 Date:

**Attn.: Hisham 24-09-25**

Mob 057432992

**Customer Po Ref: PO78980**

Our Quotation: QN83983

Project: Pressure

|  |  |  |  |
| --- | --- | --- | --- |
| **No.** | **Item** | **Description** | **Qty** |
| 1 | MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 1 |
| 2 | MF0500-230M | Butterfly Valve Actuator, Modulating, 230 Vac, 500NM | 1 |
| 3 | MF550-24M | Butterfly Valve Actuator, Modulating, 24 Vac, 550NM | 1 |
| 4 | MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 1 |
| 5 | MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 1 |
| 6 | BFV | Valves - Butterfly Valve ( Size: 8'' , Pressure Rating: 16 Bar , End Type: Flanged ,Material: With O/Off Actuator and Manual Override , Manufacturer: TAC OEM , Model: 8" BFV ) | 1 |
| 7 | VB-7313-0-4-08 | Valves - Globe Valve ( Size: 1" 3-way Vale body | 1 |
| 8 | VB-7313-0-4-09 | Valves - Globe Valve ( Size: 1-1/4" 3-way Vale body | 1 |

* + hereby the recipient confirm that we have received the above items in good order and condition we hereby the recipient confirm that we have received the above items in good order and condition
  + we hereby the recipient confirm that we have received the above items as listed

|  |  |
| --- | --- |
| Supplier Representative  Al Mayssan Technical Service | Recipient Representative |
|  |  |
|  |  |
| Name & Signature | Name & Signature & Date |