## Original Material
Part Number | Description | Qty | Supplier | Unit Price | Weight | Total
MNB-1000-A | BACnet DDC Plant/Master Controller | 0 | SE.IA | 2184.5 | 1 | 0
MNB-300-A | BACnet DDC Unitary Controller | 0 | SE.IA | 620.3 | 1 | 0
E112-708 | Solid Core Current Status (“go/no”) Switch, 0.5-200 Amp Range, Normally Open | 0 | SE.FD | 96.5 | 0.2 | 0
4702040 | PRV Pressure Sensor, Wet SPP110-250kPa | 0 | SE.FD | 405.3 |  | 0
6552052000 | PRV Diff. Pressure Sensor, Water 0-6 bar | 0 | SE.FD | 921.4 |  | 0
MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 0 | SE.FD | 308.3 | 1.5 | 0
MF0500-230M | Butterfly Valve Actuator, Modulating, 230 Vac, 500NM | 0 | SE.FD | 3621.1 | 20 | 0
MF550-24M | Butterfly Valve Actuator, Modulating, 24 Vac, 550NM | 0 | SE.FD | 9416 | 20 | 0
MF200-24M |  | 0 | SE.FD | 5430 | 20 | 0
VEGAWELL 52 | Domestic water sensor | 0 |  |  |  | 0
SBLT2-10M-18M | Water Height 10.87M, Tank Height 11.03M | 0 | ps3 | 300 | 3 | 0
SBLT2-10M-18M | Water Height 10.87M, Tank Height 11.03M | 0 |  |  |  | 0
SBLT2-5M-10M | Water Height 5.8M, Tank Height 6.1M | 0 | ps3 | 300 | 3 | 0
SBLT2-5M-10M | Water Height 5.8M, Tank Height 6.1M | 0 | ps3 | 300 | 1 | 0
SBLT2-5M-10M | Water Height 5.8M, Tank Height 6.1M | 0 | ps3 | 300 | 1 | 0
SBLT2-10M-18M | Water Height 11.77M, Tank Height 12.77M | 0 | ps3 | 300 | 3 | 0
SBLT2-5M-10M | Water Height 6.0M, Tank Height 7.0M | 0 | ps3 | 300 | 3 | 0
SBLT2-5M-10M | Water Height 6.0M, Tank Height 7.0M | 0 |  |  |  | 0
MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 0 | SE.FD | 308.3 | 1.5 | 0
ETD800-8 | Duct Temperature Sensor | 0 | SE.FD | 27.6 | 0.5 | 0
|  | 0 |  |  |  | 0
MNB-300-A | BACnet DDC Unitary Controller | 0 | SE.IA | 620.3 | 1 | 0
MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 0 | SE.FD | 308.3 | 1.5 | 0
ETD800-8 | Duct Temperature Sensor | 0 | SE.FD | 27.6 | 0.5 | 0
|  | 0 |  |  |  | 0
CMD5B4000 | CO detector, 5% electrochem, Wall, sel. Ranges and outputs, LCD display | 0 | grey | 441 | 2 | 0
CO | BMS Workstation – HP PC, 4 GB RAM, 500 GB HDD. With 23” LED Screen, Supply, Installation & Configration | 0 | local | 3500 |  | 0
BFV | Valves - Butterfly Valve ( Size: 8'' , Pressure Rating: 16 Bar , End Type: Flanged ,Material: With O/Off Actuator and Manual Override , Manufacturer: TAC OEM , Model: 8" BFV ) | 0 | PS3 | 1100 | 10 | 0
VB-7313-0-4-08 | Valves - Globe Valve ( Size: 1" 3-way Vale body | 0 | SE.FD | 218.09 | 2 | 0
VB-7313-0-4-09 | Valves - Globe Valve ( Size: 1-1/4" 3-way Vale body | 0 | SE.FD | 292.43 | 2 | 0
VB-7313-0-4-10 | Valves - Globe Valve ( Size: 1-1/2" 3-way Vale body | 0 | SE.FD | 361.51 | 3 | 0
VB-8303-0-5-11 | Valves - Globe Valve ( Size: 2" 3-way Vale body | 0 | SE.FD | 477 | 5 | 0
VB-8303-0-5-12 | Valves - Globe Valve ( Size: 2-1/2" 3-way Vale body | 0 | SE.FD | 1012.8289 | 5 | 0
MS51-7103-150 | Valve Actuator Modulating w/ Spring Return Actuator & Manual Overide | 0 | SE.FD | 324.34 | 2 | 0
MS51-7203-50 | Valve Actuator Modulating w/ Spring Return Actuator & Manual Overide | 0 | SE.FD | 675.7 | 2 | 0
MS61-7203-50 | Valve Actuator Modulating w/ Spring Return Actuator & Manual Overide | 0 | SE.FD | 717.11 | 2 | 0
VT3427H13A020 | 1/2" 3-Way NC Open/Close | 0 | SE.FD | 161.18 | 1 | 0
D-1201 | Display Module for Mass Flow Meter, 120Vac with internal power supply for flow meter. | 0 | oni | 331.5 | 4 | 0
MNB-1000-A | BACnet DDC Plant Controller Panel Mount | 0 | SE.IA | 1855.92 | 1.6 | 0
MNB-300-A | BACnet DDC Unitary Controller Panel Mount | 0 | SE.IA | 563.29 | 1 | 0
MNB-70-A | BACnet DDC Zone Controller Panel Mount | 0 | SE.IA | 325.3 | 1.3 | 0
F-1111 | Mass Flow meter/transmitter; Single Turbine, requires 24 Vdc power supply, delivers isolated 4-20 mA signal, with 10 ft cable. Includes standard installation hardware | 0 | oni | 777.75 | 4 | 0
HD3XVSTC-T1 | Duct Mount RH and Temp. Sensor, 3% Accuracy, Selectable 0-5/0-10 VDC Output for RH, w/ 1k RTD Therm. for Temp. | 0 | SE.FD | 300.2 | 1 | 0
ETD800-8 | Duct/Immersion Sensor, Platek, 1/4" NPT Mounting | 0 | SE.FD | 27.63 | 0.95 | 0
TSMN-58011 | Room Space Temperature Sensor | 0 | SE.FD | 32.24 | 0.95 | 0
930.8x | Differential Pressure Switch, with manually adjustable setpoint | 0 | bek | 8.44 | 0.2 | 0
Beck 6550 | 2 metal pipes with 90 Deg angle, 2 rubber grommets, 2 meter PVC hose | 0 | bek | 1.89 | 0.1 | 0
Flow Switch | Vane-Type Flow Switch For Non-Hazardous Fluids, NEMA 4 Cover, For Pipe Sizes 1" -8", 2 SPDT Contacts | 0 | son | 50 | 1 | 0
MA41-7153-502 | 24V, 2 Pos 133 lb-in SR w/2 Aux. Switch | 0 | SE.FD | 466.45 | 3 | 0
Repeator | BACnet Network Repeator | 0 | SE.IA | 1855.92 | 1.6 | 0
Router | BACnet Network Router/DDC Controller | 0 | SE.IA | 1855.92 | 1.6 | 0
ETI800-4 | Immersion Sensor, Platek, 1/4" NPT Mounting | 0 | SE.FD | 27.63 | 1 | 0
ETI-WELL-4S | 4in Stainless Steel Well | 0 | SE.FD | 26.32 | 0.95 | 0
Report Printer | Report Printer Colour | 0 | mts | 333.3333 | 0 | 0
BMS-Workstation | Workstation & 20" Monitor with software | 0 | mts | 1333.3333 | 0 | 0
BMS-Server | Server with Server Software | 0 | mts | 3000 | 25 | 0
LX-380 | Alarm Printer Dot Matrix Printer | 0 | mts | 146.6667 | 0 | 0
E112-708 | Solid Core Current Status (“go/no”) Switch, 0.5-200 Amp Range, Normally Open | 0 | SE.FD | 96.5 | 0.2 | 0
984A.543M04 | Differential Pressure Sensor | 0 | bek | 56.5 | 0.2 | 0
MN-S3-A | Space Sensor w/Setpoint Adjustment & Override | 0 | SE.FD | 101 | 0.2 | 0
MN-S3HT-A | Space Sensor w/Setpoint Adjustment & Override | 0 | SE.FD | 265.46 | 0.2 | 0
6552052000 (SPW110) | Differential pressure transducer for harsh media, wet . Pressure range 0 to 6 barI (Custom and + / - pressure range available). | 0 | SE.FD | 921.38 | 0.5 | 0
MA41-7073-502 | 24V, 2 Pos 60 lb-in SR w/2 Aux. Switch | 0 | SE.FD | 441 | 3 | 0
MS41-7073-502 | 24V, Modulating 60 lb-in SR w/2 Aux. Switch | 0 | SE.FD | 443 | 3 | 0
MUX-4DI-R4 | DDC Input Module | 0 | mts | 15 | 0.5 | 0
CCTV Monitor | 40" LCD CCTV Monitor | 0 | mts | 500 | 5 | 0
MNB-BASE-300 | Unitary Controller , Base Only | 0 | SE.IA | 179.3 | 1 | 0
9841 | BACnet Network Cable (1 Roll 300 M) | 0 | bel | 600 | 0 | 0
8762 | BMS Cable (1 Roll 300 M) | 0 | bel | 400 | 0 | 0
OM-R3 | DDC Output Module | 0 | gnd | 100 | 0 | 0
0
0
Note on D8: Fardin Mukhtar: Keystone Actuator Model: KPE500UVPAP12E6
Note on D9: Fardin Mukhtar: Keystone Actuator Model: KPE500UVPAP12E6
Note on D10: Fardin Mukhtar: Keystone Actuator Model: KPE500UVPAP12E6
Note on E12: Fardin Mukhtar: DGP-53F-TH-1
Note on E13: Fardin Mukhtar: DGP-53F-TH-1
Note on E14: Fardin Mukhtar: DGP-01-UB3-PH
Note on E15: Fardin Mukhtar: DGP-01-UB3-PH
Note on E16: Fardin Mukhtar: DGP-01-UB3-PH
Note on E17: Fardin Mukhtar: DGP-34F-TH-1
Note on E18: Fardin Mukhtar: DGP-M4-TH-3
Note on E19: Fardin Mukhtar: DGP-M4-TH-3