## Sheet1
Part Number | Description | Qty | Supplier | Unit Price | Weight | Status
MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 1 | SE.FD | 308.3 |  | Pending
MF200-24M | nan | 1 | SE.FD | 5430 |  | Pending
MNB-1000-A | BACnet DDC Plant/Master Controller | 1 | SE.IA | 2184.5 |  | Pending
VEGAWELL 52 | Domestic water sensor | 1 | nan |  |  | Pending
E112-708 | Solid Core Current Status (“go/no”) Switch, 0.5-200 Amp Range, Normally Open | 1 | SE.FD | 96.5 |  | Pending