**Fardin**

{Address} DN021-09-25

**Attn.: Divakr**

Mob {Contact\_Num} **Date:**

**Customer Po Ref: 21-09-25**

Our Quotation: *{Quotation}*

Project: {Project\_Name}

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Item | Description | Supplier | Qty | Unit Price | Total Price | Weight | Total Weight |
| 1 | MS51-7103-150 | Cooling Coil Valve Actuator, Modulating 24Vac, 0-10 Vdc | 1 |  |  |  |  |  |
| 2 | MF0500-230M | Butterfly Valve Actuator, Modulating, 230 Vac, 500NM | 1 |  |  |  |  |  |
| 3 | MF550-24M | Butterfly Valve Actuator, Modulating, 24 Vac, 550NM | 1 |  |  |  |  |  |
| 4 | BFV | Valves - Butterfly Valve ( Size: 8'' , Pressure Rating: 16 Bar , End Type: Flanged ,Material: With O/Off Actuator and Manual Override , Manufacturer: TAC OEM , Model: 8" BFV ) | 1 |  |  |  |  |  |
| 5 | VB-8303-0-5-12 | Valves - Globe Valve ( Size: 2-1/2" 3-way Vale body | 1 |  |  |  |  |  |
| 6 | MS51-7103-150 | Valve Actuator Modulating w/ Spring Return Actuator & Manual Overide | 1 |  |  |  |  |  |
| 7 | F-1111 | Mass Flow meter/transmitter; Single Turbine, requires 24 Vdc power supply, delivers isolated 4-20 mA signal, with 10 ft cable. Includes standard installation hardware | 1 |  |  |  |  |  |

* + hereby the recipient confirm that we have received the above items in good order and condition we hereby the recipient confirm that we have received the above items in good order and condition
  + we hereby the recipient confirm that we have received the above items as listed

|  |  |
| --- | --- |
| Supplier Representative  Al Mayssan Technical Service | Recipient Representative |
|  |  |
|  |  |
| Name & Signature | Name & Signature & Date |